## Slide 1: Respiratory and Heart Rate Monitor
Electronic Technologies and Biosensors Laboratory
Allegri Giorgio
Mazzucchelli Umberto
Pavirani Luca
Professor: Cerveri Pietro
Tutor: Marsilio Luca

## Slide 2
PROJECT AIM
Develop a simple Respiratory/Heart Rate Monitor, exploiting the PSoC and a 3-axis LIS3DH accelerometer.

## Slide 3
1
3
5
6
4
2
PSoC-accelerometer communication
TIMELINE
PSoC-GUI communication
Hardware setup
Data collection and statistical analysis
Data visualization
HR & RR algorithm development

## Slide 4
PCB
Voltage regulator
Accelerometer pins
Capacitors
PSoC power
Accelerometer I2C
BT module

## Slide 5
HARDWARE
Battery
Voltage regulator
Capacitor
BT module
Accelerometer pins

## Slide 6
PSoC CODE
Start data acquisition
Read FIFO register status
Ovrn bit = 1?
no
Read FIFO
yes
Send data to GUI
Reset FIFO

## Slide 7
GUI
Export data
Automatic connection
Connection status
Mode selection
HR history
RR history
Start/stop

## Slide 8
HR & RR
Acc data in digits
Data conversion in g
Band-pass
[1-5]Hz
Low-pass
[3 Hz, 5th order]
HR
RR
Detrend
Band-pass
[0.1-0.9]Hz
Savitzky-Golay smoothing [3th order, 15 samples]
Detrend
Moving average [25 samples]
25 samples apart
50 samples apart

## Slide 9
PERFORMANCE
HR
PCC = 0.74
Vs. Garmin VivoSmart4

## Slide 10
PERFORMANCE
RR
PCC = 0.92
Vs. Metronome

## Slide 11
HR & RR detection and tracking
User interface
Data export
Goals and further developments
Increase signal robustness
Reduce battery consumption
Shielded cables
PCB optimization

## Slide 12: Thank you for the attention